Noise measurements 17/04/01

Procedure:

Fixing the ball in different angles seen from alpha-laser. Angle-span from 10 to 80 degrees. Ball placed at a distance of 25 cm from alpha-laser. Simulation was run for 100 seconds.

Data written to workspace and statistics run in matlab.

Data given below in table 1.1:

Table 1.1: Statistics on noise measurements

| # Ball position | Angle | Mean(Vin) | Standard deviation | # Covariance | # Min(V) | Max(V) |
| --- | --- | --- | --- | --- | --- | --- |
| 10 degrees | Alpha | 0.9337 | 0.0027 | 7.1671E-006 | 0.9233 | 0.9497 |
|  | Beta | 0.1233 | 0.0012 | 1.3782E-006 | 0.1191 | 0.1304 |
|  | Delta | 0.7832 | 0.0032 | 1.0370E-005 | 0.7725 | 0.8003 |
| 20 degrees | Alpha | 0.8243 | 0.0026 | 6.7224E-006 | 0.8159 | 0.8408 |
|  | Beta | 0.1882 | 0.0013 | 1.6461E-006 | 0.1846 | 0.1968 |
|  | Delta | 0.7754 | 0.0031 | 9.7717E-006 | 0.7651 | 0.7969 |
| 30 degrees | Alpha | 0.7115 | 0.0030 | 8.8442E-006 | 0.7031 | 0.7295 |
|  | Beta | 0.2407 | 0.0015 | 2.1219E-006 | 0.2363 | 0.2490 |
|  | Delta | 0.7763 | 0.0031 | 9.6769E-006 | 0.7646 | 0.7944 |
| 40 degrees | Alpha | 0.6080 | 0.0025 | 6.3164E-006 | 0.5991 | 0.6235 |
|  | Beta | 0.2764 | 0.0016 | 2.5393E-006 | 0.2700 | 0.2900 |
|  | Delta | 0.7861 | 0.0031 | 9.7864E-006 | 0.7749 | 0.8062 |
| 50 degrees | Alpha | 0.4940 | 0.0023 | 5.13E-06 | 0.4854 | 0.5083 |
|  | Beta | 0.3000 | 0.0016 | 2.54E-06 | 0.2944 | 0.3066 |
|  | Delta | 0.8090 | 0.0031 | 9.49E-06 | 0.7983 | 0.8267 |
| 60 degrees | Alpha | 0.378 | 0.002 | 3.91E-06 | 0.3716 | 0.3887 |
|  | Beta | 0.3108 | 0.0016 | 2.56E-06 | 0.3047 | 0.3203 |
|  | Delta | 0.8473 | 0.0032 | 1.03E-05 | 0.833 | 0.8687 |
| 70 degrees | Alpha | 0.2735 | 0.0016 | 2.67E-06 | 0.2661 | 0.2832 |
|  | Beta | 0.3112 | 0.0016 | 2.63E-06 | 0.3057 | 0.3232 |
|  | Delta | 0.8989 | 0.0032 | 1.00E-05 | 0.8872 | 0.9229 |
| 80 degrees | Alpha | 0.163 | 0.0014 | 1.90E-06 | 0.1567 | 0.1777 |
|  | Beta | 0.3051 | 0.0016 | 2.72E-06 | 0.2993 | 0.3242 |
|  | Delta | 0.9658 | 0.0031 | 9.68E-06 | 0.9526 | 0.9844 |