## Slide 1: Specialization project
Project title
“Practical modeling and PI-control of level processes”
Student
Ingrid Didriksen
Supervisor
Krister Forsman

## Slide 2: Objective
Level controllers in a chemical plant
Obtain process models by use of historical data
Obtain better tuning for the PI-controllers
Apply theory in practice

## Slide 3: The Problem
Poor tuning in level controllers
Kc and τI for all the level controllers

## Slide 4: Why?
Problem with poor
tuning
Oscillations
Process output and set point

## Slide 5: Desired
Smooth control
Buffer tanks

## Slide 6: How?
Integrating process,
Matlab System
Identification toolbox

## Slide 7
Process model

## Slide 8: How?
Arrest time
Disturbance in inflow Deviation in process output

## Slide 9
Tuning
Level controller | Kc0 | τI0 | Kc | τI | fmodel | fSkogestad
1 | 3.3 | 83.9 | 1.48 | 403 | 2.15 | 2.12
2 | 3.08 | 29.1 | 1.49 | 533 | 8.86 | 8.72

## Slide 10: Simulation
No time delay
Process output and set point
Process input

## Slide 11
With “time delay”
Process output and set point
Process input

## Slide 12
Retuning
Process output and set point
Process input

## Slide 13: Furture work
Concider dynamics of the level controllers

## Slide 14: Thank you for your attention!