## ASWXL.Storage (hidden)
ASWXL Storage Version 25.0.0.1 | C:\Program Files (x86)\AspenTech\Aspen Simulation Workbook V7.3
UEsDBBQAAAAIAEChcEMq41e5pRAAAK/EAAAYAEIAQXNwZW5UZWNoLkFTV1hMLldvcmtib29rTlU2AE5VQ1gYAEEAcwBwAGUAbgBUAGUAYwBoAC4AQQBTAFcAWABMAC4AVwBvAHIAawBiAG8AbwBrAAoABAAAAAAA7F3pc9s2Frdj+YztOG3TM9lqNN2Z7k5s2em2zXpsdxw5aT21m9R2k2y3WxUmIQkNSagg6aP/1N73vd37vu9rZr/2ez9m8XiCFHVaFNmE9gjmAx6AHx4eHoAH0BoaHhoaust/4C/8TJ/iwafW9TrW9rBUW1jfvXV7a2Fdlol2MX8TM51QbfXSswuL/HfpYr5kKobJ8KqGTYMh5WL+hrmvEOllfLxH72BtdRFJ0rPPSIuXP1m5tHhZroxCPY+Gi79F2Z19Su/M8sSR8oE0XdaJairI4JXpZ8tIMsgB3vWipst1hiuYYU3C+nSZaMQgSCHvYnm2rCLdwGwDGWgXGw8HyQUH/zkhukQ1g1FFwWymzJBWxdtIQ1XMpstVRs36usSr0B8sI9OgKq9c2kPV1+oyMvCF8gZWsIH30L6Cb9WwZpFEq+5AKR8tmxbX1SMJK9dMTbKaAmzXedPd9kLToPxrGIEUt1E9lzuVG+K/uRwXRa4QFtRNxAjUVwLEVpnQXc+G2fxk3Y7xZRfM+VQ45w1PsEHG4Y+EOUF49iM8Ac/E0615fFED9/kw844gfWB4Iszwot8hFqTh4XyDnobECXzwmRyBAGQ6NTkKeSfHIITIcQgmeDD6AR8GrSoF9vEDpJi4XB6agGKhVI5jcgqyA9Fhh42VEWPoeKwsUVMzco1N3XTzffozlmStNpx2huho7kR9Hq78QkPlfk6x+mm3+tFOFQdEO7VFkXyNj2DKxp3hN1Giah0xzOZeQnqtRGV8g9EDImM2ARG7fCDnuAHRx26CrHUu5hFe6emJ87vHfNSqgZZuumU9FZXYUD405P1XL78A7ZiaAoFOzkAAhmcUVKKNmkMfP+Jakx2sUhjwTrMmb6vKrlTDKjrNnzZIpfIiQ+rI8PCsA83hs4R5BjpiDmzve6dWXjhSlfyBY1sLSwuLhTwXJOUmt7paMI3K/NJzhRfWZqZWjvRl3aohT+TVgoeqkDcQq2LjFaRivY4kvFqoGUZ9uVjk1dZNRhYoqxaBU8fG0sKRLhfyvEpNX1Z1Q9M75e641COf9fDwcOHwGYvz0uLiUvH29pYtIx8BN5OIN5NpTtv0eZVIjOq0YsxLVF3mfPM2l5+nzmi9fR7gKuSRYTCybxr4GmXqBq4gPmWtFt4x+YxRIZiD5nZbxZrRJJnLPZ8HyTtseY1LOSB8G9zypu4oxmrBYCb24l/TcclkfGgYW1RCCnaSrXLtkjniuoKP9o7r2Il14muUSDivEu26JJmMS5VrhoqOXMrU9vkQll2QfsYgVD5lueYEQIFUlgVtuyTmbg7IT9XxOyYM9FBSVNWbG54YdjCSr2vKcUg663xi3dQkZuVy0wxe8WqBl0Y0w+PsXseLHSCE8oQKda4rWjXmOjewLjFSByPVz6qDetIJEMvAChBkajpKMjAIr/HFm56sFF6FsW4cJwvCWmckC8FagA2wL1aKzYyJlRJthKwkB3cHVm+vmdVbvK+tXmoskKVzyULgi8SXeC9htkMPBSR8f6ZgxMUju2uCClL0wRpHDk3oqfThAzWGZRMyku3CK5Tx/ltnsBrq2zjqTRy3iGzUUtZNlhHcNY6VhEfaHjFSgQOGO68zBUg2NQ0zW3sT1NttzOtY1+QSjwoA8ZT3w74C2CK6EeOEb9UBs/4Ap/BSjSjygOvkM9D1SoXnGZCyxq4f665v4L5eDfpSSNQYlqhiqlqCdtCZFxKeEqoaZVhO4xKij9amewTh2XrQ9V/huQe8YojX/G1TGSuZY7AZwn47BrvXuNRs0sNuwgQgpMBNuEUPA4vjJKRQrycNIQV+SrA+ySK4gQJ7/AQQ+Ee0KfDfpWFglhSk1r1qS8gym05a3klM1YrKGstNUFtpqURdoprsnZeEYUMigUcs51NxqAKAnMmrFdYUzG/uIqhldwfWRx+uxSbfa7sakS0q4zttjrcTrx4ZmGlIib8nkziVF1T0XvBuudu77AQ0EmFqNlfZCWgbaKk+Ab2mkLpzvIYMU08Zuux8Njufzc5ns/PZD8EKJTuhzU5oozUkO6PNzmizM9rsjPZ+PKPdQ9VLlhHMzmejb3cJOD3XLk/Ju+fa+UTHw7asNMFodWpKUHJ52f62KEEmfwzOhRgNz5Zh8gCvakh8a8bDZ8e3niVidek3HTaRJyL2sEn8hSBrzEQCdMdM4oc18A64fR8hSoYpuKrAZdgEoC3DFEDMDhLjQercUok+B98iKjGSHd7OFZboE+8U4Gt/mcACaR/ORxv3VF0iSBNaeCfe/h8ByfZxkwtE3qQcWHUP9iAoYavMW77NRZBw96Bqgw8rZhgD2sVlrqzMlZW5sjJX1n3tysoupEQizC6kZBdSsisf2ZWP7MpHduXjnr3yEVwEZHc+sjsfTRbeA1kJJr3ks61Mwi6fa1RLeKnwiqnuY5aGRcsthup7+MgYoL2NnoK4zSeUlahCE37dE7RjwDDiNS/2mLuPjMwW0dKwwLuFSbWW8PC2FHlTk/HRvaLNtg/zPtLmbLbKZqvW2nFPzVY3GK0QBQff5cu8pJmXNP1eUuuOUSqRpdp/y/Ht7DUcTaYB2Sv0eoXLS0/QK7ZHVGxNNwdISfiOAkeSglt0mbc/8/Zn3v7M25/+1Wt29UmQSKI3W7LrV9n1qzaosutX99z1q10Ja4gRmrkQMhdCYLe5ef0KgkVQKrfCmX+jB2Rgu0r8A0WlEmCqHTDp/o9OKXDCZD6HzOeQ+Rwyn0O617mZv0GURqJ7OXun3+Sly8zxcX86PgbrYojZ5uA6YsigTN/UKjRGg2N9+QKvLdmu28ASUZEyUBz960Cb3/pmbSeuSQnQcFMjvEqn3da/8nkZ+/+v4gbjcmDHPCr4nd5uv8IX0VOWP6ojo7ZaWCgWra9bXw58H3cxkKdCsCK7GWxuGCNFEamNqRlIoXCQfolqvGcQjK04wEEVXcFz+5zL7FJ/5LgXjxy973fnqJ7tHpD1akN7UJ4VbMvpvVjQm7CX+iBsYf6MU9qfOCnU0BdbxYm1H2L1/sFNDKYAyoYxClYrBkBdD39Rds+fVHbhryOIGe9z/dLLAVisy71ASoXNCoyuxb6IPEa75b3PxoEJu8HejYH7f2diAwrC6C/YQYjX0rn+wo5pFDa+4diV7Q2/HZn0cLTcZX0RvON467e8hfd5+gJTfD+o72CF1zX6AlZ8/aPvYKPunpejJ0R/l/FK/6fNyDvwsbbWs2jlJrNRq/aefNKKvjbV9xYHbgQk0bHBKwmxtS/h3mx0SPejpXfwMcMV15Uvbngi6uOcmIU3WfGhF53OgVbYoJu1IqAOzVvRSm3ja1PDLNtBg4SpJKTqTlMa5q54xk3woLSLBgjTSxOb5DSkYV6L19CFJrwOWhI1h7RuUgezX7yN7EXjAoagdft6MQa9NkW49drb8IleApxsFPW4rOh5MAmL+8ZVvtOU0HYyxl1D9F6g4xbwijpphrBtG+QOqDvlCu8IT6ZWXe8v+2Gdo/biJzPNPe3uu7fLTVSqsRl9UKmBGl/BlXMCg9uNQ8j/ronu5N8csXfe1X+w/pd39Kbw/VX2ASh6YJrpYErudHUxeM2OcBmfQMN7cUD3Mnc1yr9tE7rqgpP60Lubsvq6EBrkCsg5qmk4uYkQ/1Jsp0BRR1xdz7f9nGljn2Pd3m0EHTiPjwVwL6oenJYiR2r3k9MArIxQSzPcvQl8sOYlcLHixMvhwZqWwP2VCLPyfCz3YNrak9BVJPs6k1TDKlobOzs0NPS/sRWZVCpVtmz/QWr+SFV4ybbzcbVgMs3JoM+rRGJUpxVjXqLqMuebt7kKTh67iHZ53IrmD7ipXfFkZJfR/sLW2oov9LyDnchiV/iXIxg9vA49C1e71lY2N9YWV4o8XAF/69qLlMorRetxpejnbl/+pYjyl+zyl4Tyr6Do4kMTh1hHKCm6IW6GGtJLNeu7O1YLRNMxMzBIp6FtQt2LQSTFUH3dYIsWQifYBLkIYJbaQQtedhSRBVN6Epp7wXHt4krRe17xLxyuLawUBWqlGKyTR3h6zJ9DI2ptdJyPtKfX9TrW9rBUW7B4F4B5wctWoprBqKJgNs2Zx8r0UMPs0XJgkeTzPGQngFn2I31uEuR+shzldPLTL5Rd1+6uYcrHodSHy4Ix9aPPOdFBDC4zCeP1dmkiXi8yWMhjfkKo0pzw82hYoLcou7NP6Z1TXIAXI6XdpP2nmnZPBLj2pZPG0p+JzNC6VyDfUmS+Vr0FuT4emSuyF4H9Yy3YG9veqvCIlkfLNUIbmsu1iZZAhvnWGSIaC5/JYQgehOAhCM5B8DAEj0DwKASPQfA4BE9AcB6CCzwYneDB+XC11iu120hDVbsWZ/xOlvUaxsY2qrdR1wvhxF3I55RaD+J+ElBM8SAfzrQuSVjXr2FkmAzyXeJMD6xLBjlABt4lqqkgePdxZl2WgxR8/RKq14lWdSjH6o7blD7N/7rdqz8AL5eoPK8E30dY56YWn7Vt6lXtgDCqwVpjxo7ZMTXoiDmb8is9U6L1Y7uLKFRg0fCwR63Y2Q2+ZjGwK6K5q0d1ygwB9KYKETeIBE2dsyk/ecqOgAJnNy0rzx8tZTjrke5YcBhc8hyvn1SOfYnYTF6sSLp5HtymBziUY9qJ8wmX+8wNZOqCLOZ2MNGIEYhQOX9DhF+DH+F01JQXoc96j3aDPdKr347x+nPWo63kGd5nftVnd2v0cAPrpKrtUarsIzYDMddZFWnkXcxmgeI5nESL9HPP7hq07pOP3ST40NJHUVVgVJ+FFD5QK6RqMot3AmK2KFcNeHD0CFgfANovE6LmIMr2sNhD0OJxG2iPigfFKEeMua5/nggPOWuxYNcAIzRLz9Kz9Cw9S8/So9LhM/zfu3fvfsA/I0D8xyGslH+LxL9E4p8i8Q+R+LtY2t9E4q8i8ReR+LNI/Ekk/igW/QeR+L1I/E4kfisSvxGJX4vEr0TilyLxC5H4uUj8TCR+KhI/EYkfi034kUj8UGR7TyR+IBLfF4nvicR3ReI7IvFtkfiWWOk3xZRviClfF1O+JqZ8VSS+IhJfFvN8SUz5okh8QSQ+L+b5nEh8ViDGTw9BFP/M8U/usbDybrrrJWCemRufdtlz8GnQ9U1/VWZlyM3NDNk/c7POQ+4MD2Z3j3UDqws37a/gg8LGytvobcr4H6LBnysmUeTJ8g4+IMACWSf4zymnmLvOzyjs4bre6o+XDWvh62zSRnLnHUAlYJEAv77wEtJrFlvHfhtvl7YDAbh8RmF32bFjYXjI2zfmuq/Uqu9cW3FE7NCnygfuViAuiex5CGGX3aszJO5+u+mhBDdAb66XuDHe9jCCl6JLR0/c4F73wIH3pHO3Uh80//E20gjpfR9qfKLp2I5wbvWhvvNNx3YT/1gf6gSHV/cutrjV7A0PH7jCWrvOhi0DR+A/30CNIy2hWKW/CdMUmPCWrFD91BZF8jUEx3jjzlw2UaJqHTHM5oCzxAXEzdoBkTGbgIhd8i7OvYyP9bGbSDGxPjQ0MjI0Onp6IqquTbesp6ISG8p//9XLL8DcODUFs/pkGYK3YL4G4wvtCTEgCPaB4WY0gwSBDAy3oxkwBBVgeD2aoQpBDRjeiGYgELwNDG9GM9yBQOHBXNmZ+ufech+Q+7DvPkjug+w+YPeh4j5U3Yea+0Dch7fdhzvug+I8nP4/AAAA//8DAFBLAQItABQAAAAIAEChcEMq41e5pRAAAK/EAAAYAGAAAAAAAAAAAAAAAAAAAABBc3BlblRlY2guQVNXWEwuV29ya2Jvb2tOVTgATlVDWBgAAABBAHMAcABlAG4AVABlAGMAaAAuAEEAUwBXAFgATAAuAFcAbwByAGsAYgBvAG8AawAKACAAAAAAAAEAGADISDdy/+LOAchIN3L/4s4BL+k1cv/izgFQSwUGAAAAAAEAAQCmAAAAHREAAB4AQVNXWEwgU3RvcmFnZSBWZXJzaW9uIDI1LjAuMC4x

## Cost Estimation
Capital Equipment Costs
Boiler | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 13.4215
C1 | 339189000
S1 [MW] | 550 | 2102643
I2 | 630.2
I1 | 525.4
Capital Cost of Boiler | 33807637.0567
HP Turbine | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 2.9939
C1 | 834000
S1 [MW] | 3
I2 | 657.7
I1 | 575.4
Capital Cost of HP Turbine | 951981.2986
IP Turbine | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 0
C1 | 834000
S1 [MW] | 3
I2 | 657.7
I1 | 575.4
Capital Cost of IP Turbine | 0
LP Turbine | C2 = C1(S2/S1)^0.67*(I2/I1)
S2 [MW] | 12.6571
C1 | 834000
S1 [MW] | 3
I2 | 657.7
I1 | 575.4
Capital Cost of LP Turbine | 2501016.9735
District Heat Exchanger | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 126061.1955
U [W/m2 K] | 1200
A [m2] | 105.051
I2 | 630.2
I1 | 525.4
Capital Cost of District Heat Exchanger | 0
Vacuum Condensers | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 12261753.5403
U [W/m2 K] | 1200
A [m2] | 10218.128
Number of condensers | 10
A per condenser [m2] | 1021.8128
I2 | 630.2
I1 | 525.4
Capital Cost per condenser | 254206.8571
Capital Cost of Vacuum Condensers | 2542068.5705
CO2 Cooler | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 14777.8191
U [W/m2 K] | 50
A [m2] | 295.5564
I2 | 630.2
I1 | 525.4
Capital Cost of CO2 Cooler | 79663.3988
LP CO2 Cooler | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 22420.4944
U [W/m2 K] | 100
A [m2] | 224.2049
I2 | 630.2
I1 | 525.4
Capital Cost of LP CO2 Cooler | 65306.3365
IP CO2 Cooler | (24000+46*A^1.2)*(I2/I1)
UA [W/K] | 88258.8128
U [W/m2 K] | 700
A [m2] | 126.084
I2 | 630.2
I1 | 525.4
Capital Cost of IP CO2 Cooler | 47090.8812
LP CO2 Compressor | (490000+16800*P^0.6)*(I2/I1)
P [kW] | 960.7527
I2 | 913.9
I1 | 525.4
Capital Cost of LP CO2 Compressor | 2652375.1802
IP CO2 Compressor | (490000+16800*P^0.6)*(I2/I1)
P [kW] | 960.7527
I2 | 913.9
I1 | 525.4
Capital Cost of IP CO2 Compressor | 2652375.1802
HP CO2 Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 7.801
I2 | 913.9
I1 | 525.4
Capital Cost of HP CO2 Pump | 14278.319
Main Water Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 8.8955
I2 | 913.9
I1 | 525.4
Capital Cost of Main Water Pump | 14563.8193
LP Water Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 4.7682
I2 | 913.9
I1 | 525.4
Capital Cost of LP Water Pump | 0
District Heat Water Pump | (6900+206*V^0.9)*(I2/I1)
q [l/s ] | 66.1806
I2 | 913.9
I1 | 525.4
Capital Cost of District Heat Water Pump | 0
Seawater Pump | (6900+206*V^0.9)*(I2/I1)
qtot [l/s ] | 3109.2467
I2 | 913.9
I1 | 525.4
Capital Cost of Seawater Pump | 510502.4958
Flue Gas Desulfurization | C*P*(I2/I1)
P [kW] | 13421.5471
C [$/kW] | 250
I2 | 692.9
I1 | 394.3
Capital Cost of Flue Gas Desulfurization | 5896392.351
CO2 Removal | C = x*C1*(I2/I1)
Capital Cost Without Carbon Capture [$] | 166047523.8619
Percent Increase with Carbon Capture | 87%
I2 | 499.6
I1 | 692.9
Capital Cost of CO2 Removal | 104160612.414
Central heat pump
Cost per kW [NOK/kW] | 14000
Heat provided [kW] | 12000
Capital Cost of Central heat pump | 0
Installation factors
Equipment erection factor, fer | 0.5
Piping factor, fp | 0.6
Instrumentation and Control factor, fi | 0.3
Electrical factor, fel | 0.2
Civil factor, fc | 0.3
Structures and Building factor, fs | 0.2
Lagging and Paint factor, fl | 0.1
Material, fm: Carbon steel | 1
Material, fm: Stainless steal | 1.3
Boiler | 1.2
HP Turbine | 3.2
IP Turbine | 3.2
LP Turbine | 3.2
District Heat Exchanger | 3.2
Vacuum Condenser | 3.2
CO2 Cooler | 3.68
LP CO2 Cooler | 3.68
IP CO2 Cooler | 3.68
LP CO2 Compressor | 3.68
IP CO2 Compressor | 3.68
HP CO2 Pump | 3.68
Main Water Pump | 3.2
LP Water Pump | 3.2
District Heat Water Pump | 3.2
Seawater Pump | 3.68
Flue Gas Desulfurization | 1
CO2 Removal | 1
Heat Pump | 1
Installed Capital Costs
Boiler | 40569164.4681
HP Turbine | 3046340.1556
IP Turbine | 0
LP Turbine | 8003254.3151
District Heat Exchanger | 0
Vacuum Condenser | 8134619.4257
CO2 Cooler | 293161.3076
LP CO2 Cooler | 240327.3184
IP CO2 Cooler | 173294.4428
LP CO2 Compressor | 9760740.6633
IP CO2 Compressor | 9760740.6633
HP CO2 Pump | 52544.214
Main Water Pump | 46604.2219
LP Water Pump | 0
District Heat Water Pump | 0
Seawater Pump | 1878649.1845
Flue Gas Desulfurization | 5896392.351
Heat Pump | 0
Offsites | 0.4
Design and Engineering | 0.25
Contingency | 0.1
Total fixed capital cost (without CO2 removal) | 166047523.8619
963075638.3991
Total fixed capital cost (with CO2 removal) | 362911081.3243
2104884271.6808
Variable Costs
Labor
Number of units | 18
Number of operators | 4
Shifts per day | 6
Employed operators | 24
Salary per year | 433000
Labor costs per year | 10392000
Diesel consumption
Diesel consumption in 2012 [l] | 390417
Diesel consumption in 2011 [l] | 530287
Diesel consumption in 2010 [l] | 72907
Diesel consumption in 2009 [l] | 236728
Mean diesel consumption [l] | 307584.75
Price of diesel [kr/l] | 12
Diesel costs per year | 3691017
Coal consumption
Coal price [$/short tonne] | 65.5
Coal price [$/ton] | 72.2002
Coal consumption [ton/year] | 60000
Coal costs per year | 4332010.582
Coal costs per year | 25125661.3757
Operations and Maintenance costs
O&M [$/kW] | 71
P [kW] | 13421.5471
Total O&M costs [$/year] | 952929.8472
Total O&M costs [NOK/year] | 5526993.1138
Cost of Chemicals
Chemicals [$/kWh] | 0.00359
P [kW] | 13421.5471
W [kWh] | 117572752.9794
Total O&M costs [$/year] | 422086.1832
Total O&M costs [NOK/year] | 2448099.8625
47183771.352
Revenue
Price of electricity [kr/kWh] | 1
Price of district heating [kr/kWh] | 0.5
Total amount of electricity [kWh] | 117412204.189
Total amount of district heating [kWh] | 0
Heat pump COP | 3
Electricity needed for heat pump | 0
Available electricity | 117412204.189
Revenue from electricity | 117412204.189
Revenue from district heating | 0
Total revenue | 117412204.189
Working capital
Working capital
Value of raw materials in inventory (60 days) | 1114538.7032
Spare parts (2 % of total plant cost) | 42097685.4336
Total Working Capital | 43212224.1368

## Investment Analysis
Regneark for beregning av nåverdi og/eller intern rente.
Verdier som må innsettes nedenfor er i fet kursiv. Velg avskrivningsprinsipp. | [7 empty] | Internrente kan bestemmes ved å endre D37 til D40 = 0 (Raskest åbestemme ved "Goal seek")
|  | År ---> | Grunnl.data | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
Investement |  |  | 2104884271.6808
working capital |  |  | 43212224.1368
1)Constant depreciation rate 10% |  |  | 10
2)Amount depreciation 20% |  |  | 20
Depreciation Factor ,amount depreciation | [5 empty] | 0.2 | 0.16 | 0.128 | 0.1024 | 0.08192 | 0.065536 | 0.052429 | 0.041943 | 0.033554 | 0.026844 | 0.021475 | 0.01718 | 0.013744 | 0.010995 | 0.0087961 | 0.0070369 | 0.0056295 | 0.0045036 | 0.0036029 | 0.0028823 | 0.0023058 | 0.0018447 | 0.0014757 | 0.0011806 | 0.00094447 | 0.00075558 | 0.00060446 | 0.00048357 | 0.00038686 | 0.00030949 | 0.00024759 | 0.00019807 | 0.00015846 | 0.00012677 | 0.00010141 | 8.113e-05 | 6.4904e-05 | 5.1923e-05 | 4.1538e-05 | 3.3231e-05 | 2.6585e-05 | 2.1268e-05 | 1.7014e-05 | 1.3611e-05 | 1.0889e-05 | 8.7112e-06 | 6.969e-06 | 5.5752e-06 | 4.4601e-06 | 3.5681e-06
Industrial investment |  |  |  | 0: -2104884271.6808
Service capital |  |  |  | 0: -43212224.1368
Recover of service capital
Annual sale income |  |  | 117412204.189 |  |  | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189 | 117412204.189
Annual service expenses |  |  | 47183771.352 |  |  | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352 | 47183771.352
Brutto service result | [5 empty] | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837
Depreciation | [5 empty] | 631465281.5042 | 547269910.637 | 479913613.9432 | 426028576.5882 | 382920546.7042 | 348434122.797 | 320844983.6712 | 298773672.3706 | 281116623.3301 | 266990984.0977 | 255690472.7118 | 246650063.603 | 239417736.316 | 233631874.4864 | 229003185.0228 | 225300233.4518 | 222337872.1951 | 219967983.1897 | 218072071.9854 | 216555343.0219 | 215341959.8511 | 214371253.3145 | 213594688.0852 | 212973435.9018 | 212476434.1551 | 212078832.7577 | 211760751.6397 | 211506286.7454 | 211302714.8299 | 211139857.2976 | 211009571.2717 | 210905342.451 | 210821959.3944 | 210755252.9491 | 210701887.7929 | 210659195.6679 | 210625041.968 | 210597719.008 | 210575860.64 | 210558373.9456 | 210544384.5901 | 210533193.1057 | 210524239.9182 | 210517077.3682 | 210511347.3281 | 210506763.2961 | 210503096.0705 | 210500162.29 | 210497815.2656 | 210495937.6461
Result before taxes | [5 empty] | -561236848.6673 | -477041477.8001 | -409685181.1063 | -355800143.7512 | -312692113.8672 | -278205689.96 | -250616550.8342 | -228545239.5336 | -210888190.4931 | -196762551.2607 | -185462039.8748 | -176421630.7661 | -169189303.4791 | -163403441.6495 | -158774752.1858 | -155071800.6149 | -152109439.3581 | -149739550.3527 | -147843639.1484 | -146326910.1849 | -145113527.0142 | -144142820.4776 | -143366255.2483 | -142745003.0648 | -142248001.3181 | -141850399.9207 | -141532318.8028 | -141277853.9085 | -141074281.993 | -140911424.4606 | -140781138.4347 | -140676909.614 | -140593526.5574 | -140526820.1122 | -140473454.956 | -140430762.831 | -140396609.131 | -140369286.171 | -140347427.8031 | -140329941.1087 | -140315951.7532 | -140304760.2688 | -140295807.0812 | -140288644.5312 | -140282914.4912 | -140278330.4592 | -140274663.2336 | -140271729.4531 | -140269382.4287 | -140267504.8092
Tax,Percentaje 28% |  |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net profit | [5 empty] | -561236848.6673 | -477041477.8001 | -409685181.1063 | -355800143.7512 | -312692113.8672 | -278205689.96 | -250616550.8342 | -228545239.5336 | -210888190.4931 | -196762551.2607 | -185462039.8748 | -176421630.7661 | -169189303.4791 | -163403441.6495 | -158774752.1858 | -155071800.6149 | -152109439.3581 | -149739550.3527 | -147843639.1484 | -146326910.1849 | -145113527.0142 | -144142820.4776 | -143366255.2483 | -142745003.0648 | -142248001.3181 | -141850399.9207 | -141532318.8028 | -141277853.9085 | -141074281.993 | -140911424.4606 | -140781138.4347 | -140676909.614 | -140593526.5574 | -140526820.1122 | -140473454.956 | -140430762.831 | -140396609.131 | -140369286.171 | -140347427.8031 | -140329941.1087 | -140315951.7532 | -140304760.2688 | -140295807.0812 | -140288644.5312 | -140282914.4912 | -140278330.4592 | -140274663.2336 | -140271729.4531 | -140269382.4287 | -140267504.8092
Despreciation | [5 empty] | 631465281.5042 | 547269910.637 | 479913613.9432 | 426028576.5882 | 382920546.7042 | 348434122.797 | 320844983.6712 | 298773672.3706 | 281116623.3301 | 266990984.0977 | 255690472.7118 | 246650063.603 | 239417736.316 | 233631874.4864 | 229003185.0228 | 225300233.4518 | 222337872.1951 | 219967983.1897 | 218072071.9854 | 216555343.0219 | 215341959.8511 | 214371253.3145 | 213594688.0852 | 212973435.9018 | 212476434.1551 | 212078832.7577 | 211760751.6397 | 211506286.7454 | 211302714.8299 | 211139857.2976 | 211009571.2717 | 210905342.451 | 210821959.3944 | 210755252.9491 | 210701887.7929 | 210659195.6679 | 210625041.968 | 210597719.008 | 210575860.64 | 210558373.9456 | 210544384.5901 | 210533193.1057 | 210524239.9182 | 210517077.3682 | 210511347.3281 | 210506763.2961 | 210503096.0705 | 210500162.29 | 210497815.2656 | 210495937.6461
Net cash flow |  |  |  |  | -2104884271.6808 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837 | 70228432.837
Accumulated cash flow | Net cash flow |  |  | 0 | -2148096495.8176 | -2077868062.9807 | -2007639630.1437 | -1937411197.3068 | -1867182764.4698 | -1796954331.6328 | -1726725898.7959 | -1656497465.9589 | -1586269033.122 | -1516040600.285 | -1445812167.448 | -1375583734.6111 | -1305355301.7741 | -1235126868.9372 | -1164898436.1002 | -1094670003.2632 | -1024441570.4263 | -954213137.5893 | -883984704.7524 | -813756271.9154 | -743527839.0784 | -673299406.2415 | -603070973.4045 | -532842540.5676 | -462614107.7306 | -392385674.8936 | -322157242.0567 | -251928809.2197 | -181700376.3828 | -111471943.5458 | -41243510.7088 | 28984922.1281 | 99213354.9651 | 169441787.802 | 239670220.639 | 309898653.476 | 380127086.3129 | 450355519.1499 | 520583951.9868 | 590812384.8238 | 661040817.6608 | 731269250.4977 | 801497683.3347 | 871726116.1716 | 941954549.0086 | 1012182981.8456 | 1082411414.6825 | 1152639847.5195 | 1222868280.3564 | 1293096713.1934 | 1406537370.1672
Test1 :
Discount factor at 10 % |  |  |  |  | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333 | 0.23939 | 0.21763 | 0.19784 | 0.17986 | 0.16351 | 0.14864 | 0.13513 | 0.12285 | 0.11168 | 0.10153 | 0.092296 | 0.083905 | 0.076278 | 0.069343 | 0.063039 | 0.057309 | 0.052099 | 0.047362 | 0.043057 | 0.039143 | 0.035584 | 0.032349 | 0.029408 | 0.026735 | 0.024304 | 0.022095 | 0.020086 | 0.01826 | 0.0166 | 0.015091 | 0.013719 | 0.012472 | 0.011338 | 0.010307 | 0.0093704 | 0.0085186
Discount NKS |  |  |  |  | -2104884271.6808 | 63844029.8518 | 58040027.138 | 52763661.0345 | 47966964.5768 | 43606331.4335 | 39642119.485 | 36038290.4409 | 32762082.219 | 29783711.1082 | 27076101.0074 | 24614637.2795 | 22376942.9814 | 20342675.4376 | 18493341.3069 | 16812128.4608 | 15283753.1462 | 13894321.042 | 12631200.9473 | 11482909.9521 | 10439009.0473 | 9490008.2249 | 8627280.2044 | 7842982.004 | 7129983.64 | 6481803.3091 | 5892548.4628 | 5356862.2389 | 4869874.7627 | 4427158.8751 | 4024689.8865 | 3658808.9877 | 3326189.9888 | 3023809.0808 | 2748917.3461 | 2499015.7692 | 2271832.5175 | 2065302.2886 | 1877547.5351 | 1706861.3956 | 1551692.1778 | 1410629.2525 | 1282390.2296 | 1165809.2996 | 1059826.636 | 963478.76 | 875889.7818 | 796263.438 | 723875.8527 | 658068.957 | 598244.5064 | -1408582388.3752
Current value |  |  |  | 0: -1408582388.3752
Test 2:
Discount factor at 20 % |  |  |  |  | 1 | 0.83333 | 0.69444 | 0.5787 | 0.48225 | 0.40188 | 0.3349 | 0.27908 | 0.23257 | 0.19381 | 0.16151 | 0.13459 | 0.11216 | 0.093464 | 0.077887 | 0.064905 | 0.054088 | 0.045073 | 0.037561 | 0.031301 | 0.026084 | 0.021737 | 0.018114 | 0.015095 | 0.012579 | 0.010483 | 0.0087355 | 0.0072796 | 0.0060663 | 0.0050553 | 0.0042127 | 0.0035106 | 0.0029255 | 0.0024379 | 0.0020316 | 0.001693 | 0.0014108 | 0.0011757 | 0.00097974 | 0.00081645 | 0.00068038 | 0.00056698 | 0.00047248 | 0.00039374 | 0.00032811 | 0.00027343 | 0.00022786 | 0.00018988 | 0.00015823 | 0.00013186 | 0.00010988
Discount NKS |  |  |  |  | -2104884271.6808 | 58523694.0308 | 48769745.0257 | 40641454.1881 | 33867878.49 | 28223232.075 | 23519360.0625 | 19599466.7188 | 16332888.9323 | 13610740.7769 | 11342283.9808 | 9451903.3173 | 7876586.0978 | 6563821.7481 | 5469851.4568 | 4558209.5473 | 3798507.9561 | 3165423.2967 | 2637852.7473 | 2198210.6227 | 1831842.1856 | 1526535.1547 | 1272112.6289 | 1060093.8574 | 883411.5478 | 736176.2899 | 613480.2416 | 511233.5346 | 426027.9455 | 355023.2879 | 295852.74 | 246543.95 | 205453.2916 | 171211.0764 | 142675.897 | 118896.5808 | 99080.484 | 82567.07 | 68805.8917 | 57338.2431 | 47781.8692 | 39818.2243 | 33181.8536 | 27651.5447 | 23042.9539 | 19202.4616 | 16002.0513 | 13335.0428 | 11112.5356 | 9260.4464 | 7717.0386 | -1753780692.6892
Current value |  |  |  | 0: -1753780692.6892
Discount factor at rentage |  |  | 2.2276 |  | 1 | 0.97821 | 0.95689 | 0.93604 | 0.91565 | 0.89569 | 0.87618 | 0.85708 | 0.83841 | 0.82014 | 0.80227 | 0.78479 | 0.76768 | 0.75096 | 0.73459 | 0.71859 | 0.70293 | 0.68761 | 0.67263 | 0.65797 | 0.64363 | 0.62961 | 0.61589 | 0.60247 | 0.58934 | 0.5765 | 0.56394 | 0.55165 | 0.53963 | 0.52787 | 0.51637 | 0.50511 | 0.49411 | 0.48334 | 0.47281 | 0.46251 | 0.45243 | 0.44257 | 0.43293 | 0.42349 | 0.41426 | 0.40524 | 0.39641 | 0.38777 | 0.37932 | 0.37105 | 0.36297 | 0.35506 | 0.34732 | 0.33975 | 0.33235
Discount NKS |  |  |  |  | -2104884271.6808 | 68698126.0434 | 67201165.2721 | 65736823.8993 | 64304391.1347 | 62903171.6765 | 61532485.3738 | 60191666.8963 | 58880065.4117 | 57597044.2697 | 56341980.6925 | 55114265.4733 | 53913302.6799 | 52738509.3658 | 51589315.2872 | 50465162.6261 | 49365505.7196 | 48289810.7949 | 47237555.7106 | 46208229.7026 | 45201333.137 | 44216377.2668 | 43252883.9952 | 42310385.6431 | 41388424.7225 | 40486553.7143 | 39604334.8509 | 38741339.9039 | 37897149.9761 | 37071355.2983 | 36263555.0304 | 35473357.0667 | 34700377.8457 | 33944242.1637 | 33204582.9931 | 32481041.3038 | 31773265.8892 | 31080913.1955 | 30403647.1554 | 29741139.0243 | 29093067.2212 | 28459117.1725 | 27838981.1594 | 27232358.1682 | 26638953.7446 | 26058479.8504 | 25490654.7242 | 24935202.7438 | 24391854.2934 | 23860345.6319 | 23340418.7655 | 8.8301e-05
Internal rent |  |  | 2.2276
Current value |  |  | 8.8301e-05 | 0: Goal seek:"Set cell d40 to 0 by changing cell d37"