Off-line design of PAT systems for on-line applications

Ravendra Singha, Krist V. Gernaeyb, Rafiqul Gania

aCAPEC,  bBioEng, Department of Chemical and Biochemical Engineering,

Technical University of Denmark	, DK-2800 Kgs. Lyngby, Denmark

Abstract

In the manufacturing industry, for example, the pharmaceutical industry, a thorough understanding of the process is necessary in addition to a properly designed monitoring and analysis system (PAT system) to consistently obtain the desired end-product properties. A model-based computer-aided framework including the methods and tools through which the design of monitoring and analysis systems for product quality control can be generated, analyzed and/or validated, has been developed. Two important supporting tools within the framework are a knowledge base and a model library. The knowledge base provides the necessary information/data during the design of the PAT system and the model library generates additional or missing data needed for design. Optimization of the PAT system design can be achieved in terms of product data analysis time and/or cost of monitoring equipment subject to the maintenance of the desired product quality.

Keywords: monitoring, quality control, process analytical technology, modelling

  - Introduction

Today a significant opportunity exists to improve the product quality and to optimize the production process through the implementation of innovative system solutions for on-line monitoring, analysis and system control. Application of PAT systems (FDA/CDER, 2005) in manufacturing paves the way for continuous process and product improvements through improved process supervision based on knowledge-based data analysis, ‘Quality by design’ concepts, and through feedback control (Gnoth et al., 2007). Currently, one of the main difficulties in implementing PAT systems on a manufacturing process is the unavailability of methods and tools through which a PAT system can be designed in a systematic way. In this manuscript a model-based computer-aided framework is presented, including the methods and tools through which the design of monitoring and analysis systems (i.e., the PAT systems) for product quality monitoring and control can be generated, analyzed and/or validated.

  - Design Framework

The design of a process monitoring and analysis system (note, from here on we will use the term ‘PAT system’ to refer to such a system) is a step-wise procedure involving the selection of critical process variables, followed by the selection and placement of suitable monitoring and analysis equipments, and finally, the coupling of the monitoring and analysis tools to a control system to ensure that the selected critical process variables can be controlled. As shown in fig. 1, the starting point for the design methodology is the problem definition in terms of process specifications and product quality specifications that can be provided either by the manufacturer or the PAT system designer. A model library and a knowledge base have been developed, and act as the supporting tools for the design of a PAT system. The ICAS-MoT modeling tool (Sales-Cruz, 2006) is used for simulation of process operational models and the systematic procedure proposed by Gani (Gani et al., 2006) is used for model analysis. As shown in fig.1, the developed design algorithm relates the available product and process specifications to the available supporting tools, and subsequently generates the PAT system. If the obtained PAT system satisfies the requirements then it is selected as the designed PAT system. The validation of the obtained PAT system is achieved by comparing the simulated process performance with known process specifications. If the process performance does not comply with the process specifications then the corresponding design steps are repeated until a satisfactory design is obtained.

Figure 1. Framework overview

    - Supporting Tools

      - Knowledge base

The knowledge base contains useful information needed for design of PAT systems. It has been built through an extensive literature and industrial survey. It covers a wide range of industrial processes such as fermentation, crystallization and tablet manufacturing. It contains information for typical unit processes in terms of the type of operation they perform, the process variables involved, the corresponding manipulating variables (actuators), the equipments typically used for on-line measurement of data (type of equipment, accuracy, precision, operating range, response time, resolution, drift, cost etc.).

      - Model library

The model library contains a set of mathematical models for different types of unit processes, sensors and controllers. Similar to the knowledge base, it covers a wide range of industrial processes (fermentation, crystallization, tablet manufacturing). These models support process analysis and help to generate additional or missing data needed to obtain the design of a PAT system. For example, the models can be applied for the prediction of process variables which are not measurable but required for the final design. Simulations with the models can also be used for performing a sensitivity analysis through which the effect of process variables on the final product properties can be analyzed and critical process variables can be identified. The simulation models also provide input for the interdependency analysis, through which the appropriate actuators for each controlled variable can be selected.

    - Design methodology

The methodology used for the design of the PAT system is shown in fig. 2. It consists of four main analysis steps which will be explained in more detail below.

- Figure 2. Design methodology

      - Process analysis

This step is concerned with the listing of the variables involved in the process, and the listing of points of the process where monitoring might be required. This can be achieved through a systematic process analysis by using the available product/process specifications and by exploiting the knowledge base as supporting tool.

      - Sensitivity analysis

Here the critical process variables are identified from the selected list of process variables. The model library or process data (if available) are used for this analysis. To perform the sensitivity analysis, the process operational model is simulated through ICAS-MoT. The effect of each process variable on the target product properties is analyzed systematically through open loop simulation. The operational objectives have to be assessed first. If an operational objective is not achieved, then the process variables have to be analyzed. The variables which violate the operational limit and have a major effect on the product quality are considered as the critical process variables. For some of the variables which can not be modeled the sensitivity analysis has to be performed qualitatively through inference from the knowledge base and/or by the use of process data. All the critical process variables need to be monitored and controlled. For some of the critical variables that can not be measured in real time, other correlated properties have to be measured so that all critical variables can be measured and controlled by using the correlations to the measurable variables.

      - Interdependency analysis

The interdependency analysis is performed to select the appropriate actuators for each selected control variable. In this analysis the effect of process parameters on the individual selected critical process variable is compared. A special feature (Sales-Cruz and Gani, 2006) of ICAS-MoT can be used for this analysis. First, the response variable and the sensitivity parameters are selected. Then these parameters are perturbed and the effect of each parameter on the response variable is analyzed. The process parameter which has the most significant effect on the considered critical process variable (response variable) is selected as the actuator for that variable. At the moment only SISO control is considered in the design methodology. The possibility to also select more advanced multivariable control systems in the PAT system design will be included in the future.

      - Performance analysis of monitoring tools

The performance analysis of the process monitoring tools is performed to select the appropriate monitoring tools for each measurable critical process variable. The measurement equipment for each measured critical process variable is selected from the knowledge base, where one is able to list all the available sensors included in the knowledge base for that variable. The performance of different types of measurement equipment can be compared. The monitoring tool is then selected on the basis of one or more of the following performance criteria: accuracy, precision and resolution, sensor drift, response time and cost and operating range. The type of performance criterion selected is application specific.

  - Case study: Fermentation process - Design of PAT system

The process flow sheet is adopted from the literature (Petrides et al., 1995) (see fig. 6).

    - Product property specifications

The desired product from the fermentation process is E. coli cells. At the end of the fermentation process, the assumed E. coli cell concentration is 30 g/liter (dry cell weight) in which the protein content is assumed to be 20% of the dry cell mass. The composition (mass basis) of the outlet stream from the fermentor comprises 2.95% biomass, 4.00% glucose, 0.58% salts, and 92.46% water.

    - Process specifications

The basic raw materials required include: starting culture (E. coli cells), nutrients (glucose and salts), tryptophan, water, ammonia and air. The process equipment includes: fermentor, mixing tank, continuous heat sterilizer, centrifugal compressor, air filter and storage tank.

    - Process analysis

- The process analysis provides the following list of process variables: temperature in the fermentor, pH in fermentor, dissolved oxygen (DO) in the fermentor, dissolved CO2 in the fermentor, coolant flow rate, coolant temperature, ammonia flow rate, stirrer speed in the fermentor, stirrer speed and stirring duration in the mixing tank, air flow rate to the fermentor, heat sterilization temperature, steam flow rate in sterilizer, stirrer speed in the mixing tank and stirring duration, cell growth rate, heat of reaction, substrate concentration, biomass concentration in the fermentor, homogeneity in the fermentor, homogeneity in the mixing tank

    - Sensitivity analysis

- The operational objective for the fermentation step is to maximise the specific cell growth rate. Open loop simulations (fig. 3) show that the value of the specific growth rate is considerably lower than the maximum specific growth rate throughout the batch fermentation. Analyzing the effect of process variables on the fermentation operation shows that the pH violates the lower and upper limit of the optimal pH range  in open loop (see fig. 4), indicating thereby that it needs to be controlled throughout the fermentation process. Repeating this procedure for all process variables yields the following critical variables: temperature, pH, DO, dissolved CO2, homogeneity in the fermentor and temperature in sterilizer and homogeneity in the mixing tank.

- Figure 3. Profile of operational objective        Figure 4. Critical process variable (pH)

    - Interdependency analysis

Interdependency analysis is performed for each critical process variable to select the actuator. For example, the dependency of the DO concentration (response variable) on the air flow rate & stirrer speed (sensitivity parameters) is shown in fig 5. The air flow rate is more sensitive compared to the stirrer speed and thus the air flow rate is selected as an actuator for DO control. Repeating the procedure for all critical control variables yields actuators as follows: coolant flow rate for temperature, ammonia flow rate for pH, air flow rate for DO and dissolved CO2, stirrer speed for homogeneity control in the fermentor, steam flow rate for heat sterilization temperature control and stirring duration for homogeneity in the mixing tank.

    - Performance analysis of monitoring tools

- The performance of available monitoring tools (obtained from the knowledge base) for each measured variable is compared and monitoring tools are selected as follows: Thermocouple for temperature, electrochemical sensor for pH, optical sensor for DO and dissolved CO2, and NIR for homogeneity.

    - Proposed process monitoring and analysis system

A feasible alternative of the process monitoring and analysis system is shown in fig. 6. Within the fermentor, the DO concentration, pH, temperature and homogeneity need to be monitored and controlled. Temperature in the heat sterilizer and homogeneity in mixing tank also need monitoring and control. The aeration intensity used for DO control also influenced the dissolved CO2 concentration so it is not needed to control this variable explicitly. The critical process variables, corresponding monitoring tools and actuators are shown in fig. 6. The response time of the selected monitoring tools is also shown in the figure, which shows that the selected monitoring tools are robust enough to allow for successful implementation of the control system.

Figure 6. Fermentation process flow sheet with designed PAT system.

c: controller, R: response time, T90: time for 90% response, NIR: near infrared,

[ ]: indicates the reference number in the knowledge base

  - Conclusions

A well-designed PAT system is essential to obtain the desired product quality consistently. In this work we proposed a model-based computer aided framework including the methods and tools for systematic design of PAT systems. The application of the developed framework and methodology was demonstrated through a fermentation process case study. The developed framework and methodology are generic: the proposed systematic approach to the design of a PAT system is complimentary to traditional process design, and should thus have a broad application range in chemical and biological processes.

References

FDA/CDER, 2005, PAT, Process Analytical Technology (PAT) Initiative, U.S. Food and Drug Administration, Center for Drug Evaluation and Research, http://www.fda.gov/Cder/OPS/PAT.htm

Gani, R., Muro-Suñé, N., Sales-Cruz, M., Leibovici, C., & Connell, J. P. O. (2006). Fluid Phase Equilibria, 250, 1-32.

Gnoth, S., Jenzsch, M., Simutis, R., & Lübbert, A. (2007). Journal of Biotechnology, 132 (2), 180-186.

Petrides, D., Sapidou, E., & Calandranis, J. (1995). Biotechnology and Bioengineering, 48 (5), 529-541.

Sales-Cruz, M. (2006). Development of a Computer Aided Modelling System for Bio and Chemical Process and Product Design. PhD. Thesis, CAPEC, Department of Chemical Engineering, Technical University of Denmark.

Sales-Cruz, M., & Gani, R. (2006). ChERD, 84 (A7), 583-594.

PAT: Process Analytical Technology

Corresponding author (rag@kt.dtu.dk)

[9]http://www.rmprocesscontrol.co.uk/Electrochemical-sensors/pHPLUS-Electrodes.htm
[50] http://www.in-situ.com/In-Situ/Products/TROLL9500/TROLL9500_RDO.html

[60] http://195.173.150.81/Process_16_2.pdf, [107] http://www.smartsensors.com/spectherm.pdf