Development of mechanistic models for UASB and UAF pulsed anaerobic digesters

Amaya Franco,a Carlos García,a Eugenio F. Carrasco,a Enrique Roca,a.

aDepartment of Chemical Engineering, University of Santiago de Compostela, 15782 Santiago de Compostela, Spain

Abstract

Key mechanisms and parameters on pulsed anaerobic reactors were established by modeling of experimental data. The models, based on mass balances, were applied to three and two UASB and UAF reactors, respectively. In each case, one of the reactors was operated without pulsation, as reference. Models were defined taking into account the hydraulic behavior of each digester and the limiting mechanism of reaction velocity, which may be mass transfer or the biological process velocity (biological activity). The application of the model allows for identifying that mass transfer was the controlling step in all the reactors, except for the non-pulsed UASB, where methanogenic activity controlled the reactor performance in the last operation steady states. The results obtained from the adjustment of experimental data show that the limiting mechanism in the pulsed UASB reactors was mass transfer, while in the non-pulsed reactor it depended on the operation period. The values of the average mass transfer coefficient (kL) calculated from the model were always higher for pulsed reactors, which reasonably justified the hypothesis by which pulsing flow enhances mass transfer. Finally, adjustment of experimental data was good, proving that the assumptions done for the development of the model were adequate.

Keywords: Mechanistic model, pulsation, anaerobic reactors, mass transfer, hydraulics.

  - Introduction

Advanced anaerobic reactors allows to retain high biomass quantities and consequently to reach high Organic Loading Rates (OLR) [1,2]. These are two important reasons for the wide application of this technology in wastewater treatment [3]. Nonetheless, the development of biofilms with high thickness may increase mass transfer resistance, causing important limitations on the global reaction rate of an anaerobic reactor. In fact, for optimizing the applied organic load, it is necessary to find the equilibrium between high biomass concentrations, granule/particle size and the mass transport limitations that may be produced in the sludge bed [4]. Some authors affirm that external and internal mass transfer resistance influences on the substrate consumption rate [5,6], while others did not observed mass transport limitations in this type of biomass [7,8]. González-Gil et al. [6] indicated that external mass transfer was practically null operating at upflow velocities higher than 1m/h. However, the great influence of external mass transfer on substrate consumption rate has been observed in other investigations [9,10,11]. Zaiat et al. [10] studied mass transfer resistance by determining the values of the transfer coefficient at several upflow velocities. It was observed that transport resistance between phases decreased exponentially as the upflow velocity increased. On the other hand, mass transfer rate in a granule should be related with both porosity and size distribution of pores within the granule [12]. Granule size has also a great influence on the apparent affinity constant, which increases with the particle diameter [6]. These results indicated the existence of mass transfer limitations in anaerobic granules and corroborated the results obtained by other authors [5, 13]. Nevertheless, other studies have leaded to opposite results [12,14]. The above-mentioned studies confirm that mass transfer limitations may exist in anaerobic biofilms. However, this process will only be the limiting step when: (a) substrate concentration in the reactor is low, (b) the percentage of granules with an average diameter > 1 mm is high, and (c) methanogenic activity of biomass is high, since the normal value varies between 0.4 and 0.6 kg COD/kg VSS·d [15]. Pulsing flow has been applied to a great number of chemical [16,17] and biochemical processes [18,19,20] for improving mass transfer, biomass properties and efficiency of the equipment employed.

The objective of the present work is the development of mechanistic models, for studying the role that pulsation plays on the enhancement of bioreactor performance. Model parameters support the hypothesis that mechanical effect of pulsation can be responsible of the improvement of efficacy in Upflow Anaerobic Sludge Blanket (UASB) reactors and Upflow Anaerobic Filters (AF).

  - Materials and methods

Experimental data of the operation and hydraulic behavior of UASB [19] and UAF [20] reactors were employed for the development and validation of mechanistic models. The models were applied to three UASB reactors (two pulsed P1 and P2, and one non-pulsed NP)  and two UAF (one pulsed P and other non-pulsed NP). Pulsing flow was produced by an Elastic Membrane Pulsator [21], placed in the bottom part of reactors P1, P2 and P. Pulsation in reactor P1 was generated by pulsing simultaneously the feeding and the recycling flow, while in reactors P2 and P, only the feeding flow was pulsed, since they were operated without recirculation. This difference conditioned not only the frequency and the amplitude of pulsation, but also the upflow velocity of each reactor [19,20]. The only configuration difference between UASB and UAF reactors was that UAF reactors were filled with 120 corrugated PVC Raschig rings of 12 mm in size, decreasing their total volume from 0.80 to 0.76 L. The inoculum of both UASB and UAF reactors came from a hybrid UASB-UAF reactor treating dextrose, although it was collected in different times. In case of the UASB reactors, the inoculated biomass was in granular form and with a specific methanogenic activity (SMA) of 0.27 kg CH4-COD/kg VSS·d, while for UAF reactors, the sludge was flocculent, with a SMA of 0.2 kg COD CH4/kg VSS·d. The final Volatile Suspended Solids (VSS) concentration in each reactor was around 14-15 g/l.

  - Model development and description

The developed models are based on mass balances. For establishing these balances, the hydraulic behavior, determined from Residence Time Distribution (RTD) curves, and the limiting mechanism of the apparent reaction rate were considered. This latter may be due to mass transfer between phases or to the biological reaction rate.

The following theoretical and practical approaches and simplifications were taken into account for model development: 1) Biochemical reaction limiting stage of anaerobic degradation is always methanogenesis; 2) Spherical geometry was considered for biocatalyst constituting the sludge bed 3) The liquid-solid interphase thickness is very small and almost constant value for the upflow velocity; 4) Growing of biomass within the reactor is exponential, assuming unlimited substrate availability; 5) The substrate concentration within the particles/granules is negligible with respect to the concentration in the outer layer; 6) The sludge bed keeps constant its geometry during the whole non pulsed operation; 7) The variation of the SMA with time is calculated by functions established from experimental data.

    - Modeling of UASB and UAF reactors

A substrate (COD) mass balance applied to UASB and UAF is described by Equation 1.

ra=Q0S0+QrSf−Q0+QrSf						(1)

where S0 is the substrate concentration (kg COD/m3) in the influent, Q0 is the feeding flowrate (m3/d), Qr is the recycling flowrate (m3/d), Sf is the substrate concentration (kg COD/m3) in the effluent (and in reactor for perfect mixing behavior) and ra is the apparent substrate consumption rate (kg COD/d). In order to better understand the different observed behavior of all reactors, a mathematical model taking into account the different aspects (kinetics, external mass transfer and hydraulics) was developed.

3.1.1. Apparent kinetics.

The apparent substrate consumption rate (ra) may be due to two different mechanisms. One of them would be the biological reaction rate of methanogenic bacteria (the slowest phase of the whole anaerobic degradation process and therefore conditioning the overall rate), because the substrate employed (dextrose) for feeding the reactors was not complex and only acidogenesis and methanogenesis were involved in its degradation. The biological reaction rate (ra) can be calculated from SMA measures and from the kinetics of bacterial growth. Once ra is known, the final substrate concentration is calculated from Equation 2:

Sf=Q0S0−raQ0								(2)

3.1.2. External mass transfer.

Mass transfer from the liquid to the granules was considered as another limiting step. Granules are the responsible for the substrate transformation into biogas (mainly CH4 and CO2). Considering a steady state approach for the biocatalyst, all the substrate (COD) that reaches the biocatalyst particles is transformed and thus no accumulation exists in the surface/liquid interface. As it was shown above, apparent kinetics of biocatalyst was used which represent the join contribution of internal mass transfer and biochemical reaction kinetics. Complete mixed flow behavior is also considered as a good approximation, thus bulk substrate concentration is considered homogeneous in the whole reactor and equal to concentration in the outlet stream. In this case, the apparent reaction rate is calculated by the expression described in Equation 3:

ra=kLASf								(3)

where kL is the mass transfer coefficient referred to the outer granule surface (m/d), and A is the liquid/granule area of mass exchange (m2). Then, the final substrate concentration Sf in the reactors is calculated by the equation:

Sf=Q0S0Q0+kLA								(4)

3.1.3. Hydraulics.

Hydraulic behaviour determined from RTD curves [19,20] indicated that UASB NP reactor is very close to a CSTR (Continuous Stirred Tank Reactor), while UASB P1 and UASB P2 pulsed reactors behaved like 1.26 and 1.9 CSTR in series, respectively, while UAF NP and UAF P2 reactors behaved like 1.7 and 2.21 CSTR in series, respectively. According to this, UASB and UAF reactors were divided in two compartments (zones 1 and 2), except reactor UASB NP, which was not divided, and reactor UAF P2, which was divided in three compartments. If the limiting mechanism in the reactors is biological reaction then the mass balance would be that described by Equation 2, applied to each zone. If mass transfer rules the apparent substrate consumption rate then the mass balance in the zone 1 of reactors with recycling flow (UASB P1 and UAF NP) is described by the following expression:

Sa=Q0S0+QrSfQ0+Qr+kLAN							(5)

Sa is the substrate concentration at the outlet of zone 1. The exchange area of zone 1 must be the total exchange area divided by N (N is the number of ideal CSTR obtained from RTD curves.). A uniform particle distribution size in the whole reactor is assumed. A global mass balance in the reactors is obtained by replacing Sa value in Equation 6:

Sf=Q0+QrQ0S0+QrSfQ0+Qr+kLANQ0+Qr+kLAN(N−1)					(6)

    - Model parameters

Parameters involved in the mass balance were calculated from experimental data of each reactor [19,20]. The useful volume (V) was determined from RTD assays employing Dextran Blue and LiCl as tracers. The average diameter of granules was determined by doing a weighted mean of particle size distribution data. However, in UAF reactors, a mixture of granular and flocculent sludge was present. Thus, the average particle diameter has not been experimental determined because the difficulty of measuring the diameter of flocculent particles. Average diameter of this kind of particles was supposed uniform and equal to 0.12 mm [22]. On the other hand, the average diameter of granular particles can be considered similar to that obtained for UASB reactors. The number and the total area of particles (granules) in both UASB and UAF reactors are calculated assuming a spherical geometry.

    - Calculation procedure of the model

Mathematical models developed were implemented in Matlab® and run iteratively. Firstly, model simulation for determining the control mechanism of the process was carried out for each reactor using the different steady state data. Two mechanisms  were considered for modeling the behavior of the process: external mass transfer rate and biochemical reaction kinetic. To establish the controlling mechanism, the final substrate concentration was computed through the mass balance equations (Eq. 1 - 6), proposed for each reactor configuration. With the model considering external mass transfer, an iterative procedure was necessary for obtaining the kL value, later kL values are checked for order of magnitude consistency. Subsequently, the model was adjusted for the calculation of the mass transfer coefficient (kL) or the biological reaction rate, depending of the mechanism controlling the overall rate of the process. Once these parameters were calculated, a simulation was performed to check the correct adjustment of the previous simulation, and to obtain the definitive results. Data for five steady state periods in UASB and UAF reactors were employed as model input. Standard deviation lower than 2 for the OLR (kg COD/m3·d) and than 4 for the % COD removal was considered as criteria for selecting the steady states periods.

  - Model application

Data from steady states were fitted by the proposed models to study the mechanical effect of pulsation on improving mass transfer with respect to the non-pulsed UASB and UAF reactors. The calculation algorithm compares the result of a kinetic reaction mechanism against mass transfer limitation mechanism. In the case of the mechanism based on a mass transfer limitation, the calculation of the mass transfer coefficients requires an iterative search. This search requires obtaining an adequate order of magnitude for the mass transfer coefficients. In literature, the kL values present, for the operating conditions of the experiments, an order of magnitude 10-3 [23]. Moreover, empirical correlations [23] were used for checking the consistency of the kL values. As example, a mass transfer coefficient of 1.89∙10-3 m/d  was obtained after an iterative calculation for the P2 UAF reactor using data of the second steady state  (see Figure 2) conditions  (organic loading rate of 4.34 kg COD/m3.d; 98 % of organic matter removal; 0.27 gCOD/gSSV.d of SMA; 0.15 of void volume fraction; 1∙10-3 of particle diameter; and a feed flowrate of 5.67∙10-4 m3/d). The value of the final substrate concentration obtained by mass transfer model was 102.33 g/m3 greater than the obtained by the kinetic model. Therefore, it can be said that in this case external mass transfer is the controlling mechanism.

The controlling mechanism in the two first periods for the non-pulsed UASB was mass transfer. The biological reaction rate controlled the remaining ones. The value of the mass transfer coefficient (kL) was calculated with Equation 4 and using experimental data of COD removal.

Figure 1. Steady state experimental data for NP, P1 and P2 UASB reactors fitted by the model.

Mass transfer was the kinetic limiting mechanism in the pulsed reactors (P1 and P2) for all the steady states analyzed. kL values for each reactor were calculated employing Equation 6, in a similar way as for NP reactor. Once the mass transfer coefficients or the reaction rate (depending on the limiting mechanism) were calculated in each reactor, the goodness of the model for fitting the experimental data was evaluated. Figure 1 shows the experimental percentage of COD removal (plus standard deviation) and that estimated by the model. The model reproduces quite well the behavior of the three UASB reactors, so that the selection of limiting mechanisms indicated by the model was adequate. In reactor NP, mass transfer was the limiting mechanism in the first 46 days of operation, which agrees with experimental data, since the removal efficiency in this period was high and the reactor did not show any limitations in the biological reaction rate. In the following periods, the reactor performance was not good, achieving poor removal efficiencies, although the applied load was not very high. SMA decreased progressively, as it is also explained by the model. The biological reaction rate was the limiting mechanism in these periods. In pulsed reactors, the limiting mechanism was mass transfer rate. In these reactors, the operation was stable, presenting both good removal efficiency and a high methanogenic activity.

UAF reactors. The limiting mechanism in all the steady state periods for both NP and P2 UAF was mass transfer. Model results agree quite well with the operation data. The operation efficacy of these reactors was good during the whole experimentation, especially for reactor P2, which achieved higher removal efficiencies at higher loads than in reactor NP. The kL coefficients were estimated using Equation 6 (with and without recycling), and then, the experimental data was fitted by the model. Once again, and as it can be seen in Figure 2, the fit goodness is very high for the two reactors in all the steady state periods. The model explains well enough the reactor performance.

Figure 2. Experimental data of NP and P2 UAF reactors fitted by the model.

  - Conclusions

Mechanistic model indicated that mass transfer controlled in most occasions the performance of the studied reactors. The reason can vary in each case and it depended of biomass characteristics, reactor type, configuration and hydraulics. kL values on the pulsed UAF reactor were more than twice higher than in the NP, this proving that mechanical effect of pulsation decreases mass transfer limitations. There were not significant differences between kL coefficients for pulsed and non-pulsed UASB reactors. Thus mass transfer resistance became the limiting mechanism due to its relative high value compared to the high activity of the sludge bed granules in pulsed reactors.

References

[1] J.C. Young and B.S. Yang, J. Water Pollut. Con. F., 61 (1989) 1576.

[2] G. Lettinga, A.F. van Velsen, S.W. Hobma, W. de Zeeuw and A. Klapwyk, Biotechnol. Bioeng., 22 (1980) 699.

[3] R.J. Frankin, Water Sci. Technol., 44 (2001) 1.

[4] A. Grobicki and D.C. Stuckey, Biotechnol. Bioeng., 37 (1990) 344.

[5] J. Dolfing, Appl. Microbiol. Biot., 22 (1985) 77.

[6] G. González-Gil, L. Seghezzo, G. Lettinga and R. Kleerebezem, Biotechnol. Bioeng., 73 (2001) 125.

[7] J.E. Schmidt and B.K. Ahring, Appl. Microbiol. Biot., 35 (1991) 681.

[8] D. de Beer, J.W. Huisman, J.C. van den Heuvel and S.P.P. Ottengraf, Water Res., 26 (1992) 1329.

[9] M.T. Kato, J.A. Field, P. Versteeg and G. Lettinga, Biotechnol. Bioeng., 44 (1994) 469.

[10] M. Zaiat, L.G.T. Vieira and E. Foresti, Biotechnol. Tech., 10 (1996) 121.

[11] S.V. Mohan, V.L. Babu, Y.V. Bhaskar and P.N. Sarma, Bioresource Technol., 98 (2007) 1373.

[12] P.A. Alphenaar, M.C. Pérez, W.J.H. van Berkel and G. Lettinga, Appl. Microbiol. Biot., 36 (1992) 795.

[13] S. Fukuzaki, N. Nishio and S. Nagai, J. Ferment. Bioeng., 72 (1991) 405.

[14] P.A. Alphenaar, M.C. Pérez and G. Lettinga, Appl. Microbiol. Biot., 39 (1993) 276.

[15] J.E. Schmidt and B.K. Ahring, Biotechnol. Bioeng., 49 (1996) 226.

[16] Y. Lemay, G. Pineault and J.A. Ruether, Ind. Eng. Chem. Proc. D. D., 14 (1975) 280.

[17] J.G. Boelhouwer, H.W. Piepers and A.A.H. Drinkenburg, Chem. Eng. Sci., 56 (2001) 1181.

[18] T. Murakami, J. Usui, K. Takamura and T. Yoshikawa, Water Sci. Technol., 41 (2000) 295.

[19] A. Franco, E. Roca and J.M. Lema, Water Sci. Technol., 48 (2003) 51.

[20] A. Franco, E. Roca and J.M. Lema, J. Environ. Eng., 133 (2007) 186.

[21] J.M. Lema, M.J. Núñez, A. Sanromán and E. Roca, Spanish Patent 2059228, 1995.

[22] C.P. Chu, D.G. Tsai, D.J. Lee and J.H. Tay, J. Environ. Manag., 76 (2005) 239.

[23] .R.H.Perry, C.C. Chilton (1985) Chemical Engineers Handbook. New York: McGraw–Hill.