Energy management in a stand-alone power system for the production of electrical energy with long term hydrogen storage

Dimitris Ipsakisa,b, Spyros Voutetakisa, Panos Seferlisa,c, Fotis Stergiopoulosa, Simira Papadopouloud, Costas Elmasidese, Chrysovalantis Keivanidise

aChemical Process Engineering Research Institute (C.P.E.R.I.), CEntre for Research and Technology Hellas (CE.R.T.H.), P.O. Box 60361, 57001, Thermi-Thessaloniki, GREECE

bDepartment of Chemical Engineering, Aristotle University of Thessaloniki,  P.O. Box 1517, 54124 Thessaloniki, GREECE

cDepartment of Mechanical Engineering, Aristotle University of Thessaloniki,  P.O. Box 484, 54124 Thessaloniki, GREECE

dAutomation Department, Alexander Technological Educational Institute of Thessaloniki, P.O. Box 141, 57400 Thessaloniki, GREECE

eSystems Sunlight SA, 67200, Neo Olvio, Xanthi, GREECE

Abstract

This paper deals with the importance of an efficient energy (or power) management strategy (EMS) on an existing stand-alone power system that uses renewable energy sources for the production of electrical energy. Due to the intermittent nature of the renewables, part of this energy is used to split the water for the production of hydrogen, which is stored and used later for the production of energy in a PEM fuel cell, in case of high energy demands. The energy management algorithms aim at the reliable and effective control of the energy flow that is basically used to meet the load requirements of the autonomous system. The developed simulated algorithms were compared to each other in order to determine the most efficient strategy as far as hydrogen production and autonomy are of concern. Parametric sensitivity was also a major issue which was studied extensively. All the results and outcomes of such an analysis are considered as the basis for the optimization and control study of similar stand-alone power systems.

Keywords: Renewable Energy Sources, Stand-Alone Power System, PEM Electrolyzer, PEM Fuel Cell, Hydrogen Production

  - Introduction

Global warming is considered as one of the most critical environmental problems in the oncoming years. Solar and wind energy is abundant, free, clean and inexhaustible and the advantages of using photovoltaic systems and wind generators also include long lifetime requirements. In addition, the production of hydrogen through water electrolysis is free from carbon dioxide emissions, which are usually met in the reforming process of hydrocarbons, like methanol or methane [1]. Renewable energy systems (RES) offer off-grid energy supply for various applications such as the electrification of rural and remote areas, the powering of telecommunication stations and the desalination of water that requires large amounts of energy. Optimization strategies based on cost minimization of the integrated system utilizing a short-term and a long-term storage system can be proved quite efficient, while various energy management algorithms which can predict the performance of stand-alone power systems have been developed and evaluated [2-7]. The main conclusion is that energy management strategies (EMS’s) strongly affect the lifetime of the various subsystems and such information can guide the designer to suitable decisions on enhancing the performance of the system for an economical and reliable operation. In this paper,  three different EMS’s were developed and used in order to study the behavior of the system during a typical simulated four-month period and mainly how the total stored hydrogen was affected by these strategies. Furthermore, the effect of key variables on the system performance and operation was examined in order to gather all the information needed for future optimization studies and control analysis.

  - Description of the Stand-Alone Power System

An application utilizing solar and wind energy with hydrogen production through water electrolysis, storage and utilisation in fuel cells is currently under development at Neo Olvio in Xanthi in the framework of a research project with the participation of the Chemical Process Engineering Research Institute and Sunlight Systems S.A. The RES, consists of a PV-array with an installed capacity of 5kWp and three wind generators rated at 3kWp totally. Surplus energy is to be supplied to a PEM electrolyzer, rated at 4.2kWp after the demands of a 1kW constant load have been met.  The hydrogen produced is to be stored in cylinders under high pressure. In case there is a lack of energy, a PEM fuel cell rated at 4kWp is to be used to provide power. Also, in order to account for short-term needs, a lead-acid accumulator with a total capacity of 3000Ah-48Volt, is also used and charged by the renewable energy sources or the fuel cell depending on the availability of the renewable energy sources. A back up unit (diesel generator) could be used in order to cover the electrical needs that cannot be met by the system. Its potential use however, would be identified during the detailed study of the system. Furthermore, power electronic converters are employed for power management and for the integration of the various subsystems. Fig. 1 represents a layout of the proposed system.

Fig. 1: Block diagram of the proposed stand-alone power system

  - Simulation of the stand-alone power system during a typical four-month period

The theoretical analysis that will follow is based on the predefined sizes of the system but can be applied to other similar systems as well. Due to the large number of equations that  describe such a system, mathematical models will be given where possible. The theoretical study and simulation of the stand-alone power system was performed by using the MATLAB® simulation program tool.

    - Renewable energy system (RES)

The output power from the PV-array is given by [2]:

Ppv=Vpv⋅Ipv⋅ηconv						                     (1)

where Ppv denotes the output power from the photovoltaic array in Watt, Ipv the operation current in A, Vpv the operation voltage in Volt and ηconv the efficiency of the DC /DC converter (~90-95%).

In a similar way, the output power of the wind turbine is given by the following equation [8]:

Pm=cp(λ,β)⋅ρ⋅Αw2vwind3					                     (2)

where Pm denotes the mechanical output power of the wind turbine in Watt, cp the performance coefficient of the turbine, ρ the air density in kg/m3, Αw the turbine swept area in m2, vwind the wind speed in m/s, λ the tip speed ratio, and β the blade pitch angle in deg. The relationship for cp is based on the characteristics of the turbine [8].

From the above equations, the output power of each subsystem of the RES was calculated and the results are shown in figures 2a and 2b.

Figure 2: a) Output power from the photovoltaic system during a typical simulated four-month period b) Output power from the wind generators during a typical simulated four-month period

    - Operation strategies  for the stand-alone power system

The output power from the RES, Pres, has been calculated as the sum of the output power from the photovoltaic system and the wind generators. The power demand for the load, Pload, is constant throughout the year at 1kW. Therefore, the shortage or surplus power is calculated as:

P=PRES−Pload 						                     (3)

Based on the above equations and with the developed energy management algorithms all the subsystems were studied simultaneously. Two limits for the state-of-charge (SOC) of the accumulator were used: The minimum limit, SOCmin (84%), where energy should be supplied to the system from the fuel cell, in case there is shortage of energy and the maximum limit, SOCmax (91%), where the operation of the water electrolysis is possible in periods of excessive energy. It is highlighted, that the output power of the fuel cell is constant at 1kW (unless stated otherwise) and the upper limit SOCmax is possible to be surpassed if excess of energy exists for short time period. The electrolyzer is able to operate from the 25% (Pmin,elec) to 100% (Pmax,elec) of its nominal power. The basic steps of the three algorithms are the following:

1st Energy management strategy (EMS1)

If SOCmin<SOC<SOCmax, then the accumulator is charged by the RES or discharged in order to meet the system’s energy deficit. If SOC≤SOCmin, then the fuel cell meets the load demand and charges the accumulator if shortage of power exists (P<0). If SOC≥SOCmax then the excess energy (Ε=Pt>0) is used by the electrolyzer as long as Pmin,elec≤P≤Pmax,elec. If  P<Pmin,elec then the accumulator is charged by the RES and if P>Pmax,elec then the electrolyzer utilizes power equal to Pmax,elec and the rest (P- Pmax,elec) is used to charge the accumulator [9, 10].

2nd Energy management strategy (EMS2)

For SOCmin<SOC<SOCmax and SOC≤SOCmin, the EMS2 is exactly the same as the EMS1. The only difference is that in this algorithm when SOC≥SOCmax and P<Pmin,elec the accumulator is discharged in order to provide the necessary power (P- Pmin,elec) to the electrolyzer to operate at its minimum power point (Pmin,elec).

3rd Energy management strategy (EMS3)

If SOCmin<SOC<SOCmax, then the accumulator is charged by the RES or discharged in order to meet the system’s energy deficit. If SOC≥SOCmax, the accumulator is disconnected from the RES supply and fully meets the load demand while the RES supports the operation of the electrolyzer as long as Pmin,elec<PRES<Pmax,elec. If PRES<Pmin,elec, then the the energy is utilized by secondary needs of the system, Εloss, and if PRES>Pmax,elec then the electrolyzer utilizes power equal to Pmax,elec and the rest (PRES - Pmax,elec) utilized by secondary needs of the system. If SOCmin≥SOC and shortage of power exists (P<0) then the fuel cell fully meets the load demand and the accumulator disconnects from the load supply and charged by the RES [3].

    - Hydrogen production and utilization unit

The production or consumption rate of hydrogen is given by the Faraday’s Law [2]: ¶

nH2=nFncIneF						                     (4)              where nH2 denotes the hydrogen flow rate in mol s-1, nc the number of cells, I¶ is the¶ operation current in A, ne is the number of electrons in Cb and F is the Faraday’s constant in Cb/s. The Faraday’s efficiency, nF, is known as the ratio between the actual and the theoretical amount of hydrogen produced and is usually around 80-100%. In the case of a fuel cell the Faraday’s efficiency is defined as  1/nF.

    - The effect of key variables on the operation of the stand-alone power system

Table 1 shows that the reduction in the SOCmin causes less hydrogen to be produced and to be consumed but the total stored hydrogen is increased. Moreover, EMS1 resulted in more hydrogen stored in all case studies than in EMS2 and EMS3

|  |  | H2-Elec, Νm3 | H2-FC, Νm3 | H2 –Tot, Νm3 |
| --- | --- | --- | --- | --- |
| SOCmin 84% | EMS1 | 92.1 | 102.8 | 49.8 |
|  | EMS2 | 106.7 | 144.4 | 22.8 |
|  | EMS3 | 118 | 185.6 | -7.2 |
| SOCmin 80% | EMS1 | 75.2 | 53.9 | 81.8 |
|  | EMS2 | 75.9 | 58.6 | 77.8 |
|  | EMS3 | 74.6 | 61.5 | 73.6 |
| SOCmin 76% | EMS1 | 71 | 38.3 | 93.2 |
|  | EMS2 | 71.2 | 41.2 | 90.5 |
|  | EMS3 | 69.3 | 42.3 | 87.5 |

Table 1: Results for the hydrogen production and consumption during a typical simulated  four-month period for various values of SOCmin

From the analysis of the three strategies, it was found that there were cases where the demand for hydrogen was more than it was stored in the storage tanks. Especially for an increase in the output power of the fuel cell the consumption was higher and the storage were totally empty as reported in [10]. This situation resulted in the use of commercial hydrogen with an additional cost in the system. For the next case study, a hydrogen constraint is used in all algorithms. If the hydrogen stored is higher than the 95% of nominal capacity of the storage tanks, then the excess of energy is used to charge the accumulator (until 100%) and if excess energy still exists then it is utilized by secondary needs of the system. In case that shortage of energy exists then the fuel cell meets the energy demand without taking into consideration the SOC of the accumulator. Similarly, when the stored hydrogen is lower than the 5% of the nominal capacity of the storage tanks and shortage of energy exists for SOC≤SOCmin, then a 2 kW diesel generator meets the load demand and charges the accumulator. The results of table 2 revealed that the hydrogen constraint is efficient for the system when hydrogen deficit exists, but diesel is consumed to meet the energy demand and quite large part of energy is lost, especially when SOCmin reduces.

|  |  | H2 –Tot, Νm3 | Diesel, lt | Eloss, kWh |
| --- | --- | --- | --- | --- |
| SOCmin 84% | EMS1 | 52.7 | 0 | 0 |
|  | EMS2 | 24.8 | 0 | 0 |
|  | EMS3 | 3 | 11 | 7.56 |
| SOCmin 80% | EMS1 | 61.1 | 0 | 60.17 |
|  | EMS2 | 60.4 | 0 | 54.44 |
|  | EMS3 | 55.4 | 0 | 67.74 |
| SOCmin 76% | EMS1 | 64.8 | 0 | 78.4 |
|  | EMS2 | 64.8 | 0 | 69.97 |
|  | EMS3 | 63.4 | 0 | 83.3 |

Table 2: Results for the hydrogen production and consumption during a typical simulated four month period with the use of the hydrogen constraint

  - Conclusions and future work

In this paper, the simulation results from the analysis of three EMS’s on a stand-alone power system were presented. The case studies revealed that there were periods of high energy demand and the fuel cell consumed hydrogen to meet the energy deficit. This situation resulted in high hydrogen consumption and the storage tanks were emptied. For that reason, in order to prevent the system from extreme hydrogen starvation, the back-up unit (diesel generator) should be used to meet the energy demand. For future work, new energy management algorithms will be developed to achieve an efficient and reliable operation of the system, under variable supply and demand conditions. The optimization of the whole system is another critical issue that is going to be studied extensively. All these results will be used as the basis of developing end evaluating a ‘‘plant-wide’’ model based control strategy.

  - Acknowledgements

The financial support by the General Secretariat for Research and Technology of Greece through the Ministry of Development is gratefully acknowledged. This study is conducted in the framework of the research project “ΑΜΘ-9”. ¶

References

1.  D. Ipsakis, P. Kechagiopoulos, C. Martavaltzi, S. Voutetakis, P. Seferlis,  P. Daoutidis, F. Stergiopoulos. Study of an integrated system for the production of hydrogen by autothermal reforming of methanol. ESCAPE17,  27-30 May 2007, Romania

2.	Ø. Ulleberg Stand-Alone Power Systems for the Future: Optimal Design, Operation & Control of Solar-Hydrogen Energy Systems. PhD thesis, Norwegian University of Science and Technology, Trondheim, 1998

3. P.C. Ghosh. Cost optimization of a self-sufficient hydrogen based energy supply system PhD thesis, Forschungszentrum Julich in der Helmhotltz-Gemeinschaft, Institut fur Werkstoffe und Verfahren der Energietechnik Institut 3:Energieverfahrenstechnik,  (Diss. Aachen, RTWH, 2003).

4. S.R. Vosen and J.O. Keller. Hybrid energy storage systems for stand-alone electric power systems: optimization of system performance and cost through control strategies. International Journal of Hydrogen Energy 1999;24;1139–1156.

5. M. Santrelli, M. Cali, S. Macagno. Design and analysis of stand-alone hydrogen energy systems with different renewable sources. International Journal of Hydrogen Energy 2004;29:1571–1586.

6. S. Kélouwani, K. Agbossou, R. Chahine. Model for energy conversion in renewable energy system with hydrogen storage. Journal of Power Sources 2005;140:392–399.

7. R. Dufo-López, J.L. Bernal-Agustín, J. Contreras. Optimization of control strategies for stand-alone renewable energy systems with hydrogen storage. Renewable Energy 2007;32:1102-1126.

8.  H. Siegfried. Grid Integration of Wind Energy Conversion Systems. John Wiley &

Sons Ltd, 1998

9. D. Ipsakis, C. Elmasides , F. Stergiopoulos, S. Voutetakis, P. Seferlis, Simulation of a stand-alone power system using renewable energy sources  and hydrogen storage, 10th Conference on Process Integration, Modelling and  Optimisation for Energy Saving and Pollution Reduction, ISCHIA Island Gulf of  Naples 24- 27 June 2007, Italy

10.  D. Ipsakis, F. Stergiopoulos, S. Voutetakis, C. Elmasides, P. Seferlis, S. Papadopoulou.  Study of an autonomous power system based on  solar and wind energy with hydrogen as the intermittent energy source for future  use, 4th Dubrovnik Conference on Sustainable Development of Energy Water and  Environmental Systems, June 4-8 2007, Dubrovnik, Croatia