Sensitivity analysis of the Benchmark Simulation Model n° 1

Marie-Noëlle Ponsa, Ulf Jeppssonb, Xavier Flores Alsinac, Lorenzo Benedettid, Maria do Carmo Lourenço da Silvaa, Ingmar Nopensd, Jens Alexe, John Coppf, Krist V. Gernaeyg, Christian Rosenh, Jean-Philippe Steyeri, Peter A. Vanrolleghemj

aLaboratoire des Sciences du Génie Chimique – CNRS, Nancy University, INPL, 1 rue Grandville, BP 20451, 54001 Nancy cedex, France

b IEA, Lund University, Box 118, SE-221 00 Lund, Sweden

c Department of Chemical and environmental Engineering, University of Girona, 17071, Girona, Spain

d BIOMATH, Ghent University, Coupure Links 653, B-9000 Ghent, Belgium

e ifak e.V. Magdeburg, Steinfeldstr. 3, D-39179 Barleben, Germany

f Primodal, Inc., 122 Leland Street, Hamilton, Ontario L8S 3A4, Canada

g Department of Chemical and Biochemical Engineering, Technical University of Denmark, Building 229, DK-2800 Kgs. Lyngby, Denmark

h Veolia Water, Solutions & Technologies,VA-Ingenjörerna, Scheelegatan 3, SE-212 28 Malmö, Sweden

i INRA, UR050, Laboratoire de Biotechnologie de l’Environnement, Avenue des Etangs, Narbonne, F-11100, France

j modelEAU, Dépt. génie civil, Université Laval, Québec, G1K 7P4, QC, Canada

Abstract

Sensitivity maps have been built to present the input and parameter sensitivity of a benchmark simulation model (BSM1) for control strategies applied to activated sludge wastewater treatment plants. The growth yield of heterotrophs and the growth and decay rate of autotrophs are the key influencing ASM1 parameters, whereas wastewater flowrate and composition are the most influencing operational parameters in terms of effluent quality and operating costs. These sensitivity maps are a general tool to check the sensitivity of any proposed control strategy.

Keywords: benchmark, control, model, sensitivity, wastewater treatment

  - Introduction

Activated sludge wastewater treatment technology is widely used across the world to remove water-borne pollution of urban and industrial origin before discharge. The biological, physical and chemical phenomena taking place in these large systems are complex, interrelated and highly non-linear making the monitoring and control of such plants a complicated task. Operators are often reluctant to test new control strategies just in case they induce unexpected deviations in the quality of the discharged effluent. Benchmark Simulation Models have therefore been proposed as a tool to help the dissemination of control and monitoring strategies. BSM1 (Copp, 2002) is focused on the activated sludge section (biological reactor and final clarifier) while BSM2 (Jeppsson et al., 2007) considers the complete plant with the wastewater and the excess sludge treatment sections. The benchmark is a simulation environment defining a realistic plant layout, a simulation model, influent loads, test procedures and evaluation criteria.

It should be noted however that this performance is dependent on the assumptions made in the model, such as hydraulics (Pons and Potier, 2004) as well as parameters (design, model, operation, etc.). For a potential user, whose plant differs from the original BSM1 layout and/or operation conditions, it is useful to check the transferability of the evaluation results, in other words, the sensitivity of the control performance with respect to the design and operational parameters (Vanrolleghem & Gillot, 2002). The present contribution deals with a sensitivity analysis of the activated sludge section (i.e. BSM1) with respect to:

- design parameters (volumes of the biological reactor (Vt) and the clarifier (Vclar), ratio of anoxic to total reactor volume (Va/Vt))

- model parameters (ASM1 model (Henze et al., 1987) in the biological reactor, the Takács et al. (1991) model in the clarifier)

- operational parameters (external (Qa) and internal (Qr) recycle flow rates, wastage flow rate (Qw), oxygen mass transfer coefficient (KLa))

- influent characteristics (dynamic variations in flow rate (Q0) and composition)

The analysis is conducted in open-loop, for steady-state and dynamic conditions. The variations in performance criteria such as effluent quality and operational cost (including aeration and pumping energy as well as sludge disposal) are visualized through sensitivity maps.

  - Presentation of BSM1

    - Plant layout

The benchmark plant consists of a five-compartment nitrogen removing activated sludge reactor consisting of two anoxic tanks followed by three aerobic tanks and a secondary settler in a standard predenitrification configuration (Figure 1). All information about BSM1 and its implementation can be found in Copp (2002).

Figure 1: Schematic layout of the BSM1 plant

    - Performance assessment

Only details which differ from the BSM1 simulation protocol of Copp (2002) are listed. The effluent quality index has been modified to emphasize the effect of ammonia (included in the Kjeldahl nitrogen) on the receiving water:

E.Q=1T⋅1000t=0 dayst=14 daysBSS⋅TSSet+BCOD⋅CODet+BTKN⋅TKNet+BNO⋅SNO,et+BBOD5⋅BODetQet⋅dt

where TSSe, CODe, TKNe, SNOe and BODe are, respectively, the total suspended solids, the chemical oxygen demand, the total Kjeldahl nitrogen, the nitrate concentration and the Biological Oxygen Demand in the effluent. Qe is the effluent flowrate and T the time horizon (= 14 last days of simulation). BSS = 2, BCOD = 1, BTKN = 30, BNO = 10 and BBOD5 = 2. The aeration energy is calculated as follows:

AEkWhd=SOsat,15T⋅1.8⋅1000t=0dayst=14daysi=15Vi⋅KLai15tdt

where Vi is the compartment volume, KLai15, the oxygen transfer coefficient at 15°C and SOsat,15 the dissolved oxygen concentration at saturation at 15°C.

The mixing energy (ME) applied in tanks when aeration is not sufficient to maintain the sludge in suspension (i.e. in the anoxic tanks) is calculated as follows:

MEkWhd=1Tt=0dayst=14daysi=15meit⋅Vidt

where mei = 0.005 when KLai is below 20 d-1 and 0 otherwise.

An operational cost index OCI = ME + PE + AE + 5·SludgeProd is calculated where PE is the energy required for pumping and SludgeProd the amount of sludge produced.

    - Implementation

Cross-validated implementations on three different platforms (FORTRAN, Matlab-Simulink and WEST) have been used to generate the results reported in this manuscript.

  - Sensitivity

A matrix of relative sensitivities is calculated (Vanrolleghem and Gillot, 2002):

S=Sj with Sj=S1,j S2,j....Sp,j	where Si,j=∂Wj∂θ⋅ΔθiWj for i=1, …p where Wj is the variable under consideration and i the typical range over which the parameter i is supposed to vary when different real systems are compared.  Global sensitivities can then be calculated:

SIj=1pi=1pSi,j2	to assess the sensitivity of a variable Wj with respect to p parameters

SIi=1qj=1qSi,j2	to assess the sensitivity of a group of q variables with respect to a parameter i.

  - Results

    - Steady-state behavior

The steady-state behavior was assessed after a stabilization of 150 days under constant influent flowrate and composition and constant operational parameters. The global sensitivity maps (SIi) for the 13 ASM1 variables in the plant effluent (overflow of the clarifier) with respect to the ASM1 kinetic parameters (Figure 2a) and the Takács’model (Figure 2b) shows that the effluent composition is mainly sensitive to the growth yield of heterotrophs (YH), the growth rate of autotrophs (µA) and their death rate (ba). The influence of the settling model parameters is much lower than the influence of the ASM1 parameters. In terms of design and operational parameters, the influent flowrate (Q0) and the total volume of the biological reactor (Vt) are the most influential parameters (Figure 3).

| (a) | (b) |
| --- | --- |

Figure 2: SIi sensitivity map (in %) of the plant effluent composition (ASM1 variables) with respect to ASM1 kinetic (a) and settling (b) parameters

    - Dynamic behavior in open-loop

If the steady-state behavior is a good starting point, it is mostly under dynamic conditions that the sensitivity analysis is interesting. The sensitivity was assessed on the flow averaged values over 14 days of dry weather, following a dynamic simulation of 14 days of dry weather (influent file available on http://www.benchmarkwwtp.org). The sensitivity map for the 13 ASM1 variables describing the plant effluent composition with respect to the ASM1 kinetic parameters obtained in open-loop dynamic conditions has the same shape as the map obtained under steady-state conditions, but the amplitude of the sensitivities is reduced (Figure 4).

Figure 5 compares the SIj sensitivity maps for the flow averaged effluent composite parameters (COD, nitrate, etc.) with respect to the influent total COD concentrations for constant nitrogen load (Figure 5a) and to the influent total COD and nitrogen content (Figure 5b), without modifying the influent flowrate. The effluent nitrate concentration is mostly sensitive to the former, which is due to the use of the biodegradable part of the COD in the denitrification step. Ammonia and more generally Kjeldahl nitrogen is very sensitive to the total load applied to the plant.

Sensitivity to the pollution fractionation (in terms of biodegradable and particulate fractions) is more difficult to assess using the sensitivity criteria previously defined, because of the high non-linearity of the system. As an example, Table 1 summarizes the fractionation of the BSM1 dry weather influent file and an experimental fractionation taken from primary settler effluent of the Nancy wastewater treatment plant (Lourenço et al., 2008). The standard deviation of these fractions is calculated over 14 days for the BSM1 file and over 24h for the Nancy experimental data. An influent file has been built based on the Nancy fractionation case. Figure 6 compares the relative differences ((WNancy-WBSM1)/WBSM1) observed between the flow averaged effluent global parameters. The nitrogen content remained unchanged.

| Figure 3: SIi sensitivity map (in %) of the plant effluent composition with respect to design and operational conditions | Figure 4: SIi sensitivity map (in %) of the plant effluent composition with respect to ASM1 parameters |
| --- | --- |
| (a) | (b) |

Figure 5: SIj sensitivity map (in %) of effluent global parameters with respect to total COD concentration (a) and to total COD and nitrogen content (b)

Table 1: COD fractionation for two wastewaters and the variation of the fractions ().

|  | BSM1 |  | Nancy |  |
| --- | --- | --- | --- | --- |
|  | Average |  | Average |  |
| Biodegradable soluble COD (%) | 18.3 | 3.5 | 10.2 | 5.8 |
| Non-biodegradable soluble COD (%) | 8.9 | 3.6 | 7.3 | 3 |
| Biodegradable particulate COD (%) | 53.4 | 2.6 | 58.9 | 14 |
| Non-biodegradable particulate COD (%) | 11.9 | 3.1 | 23.6 | 11.3 |

With respect to design and operational parameters, the effluent quality, measured globally by the variable E.Q. (see above), and the operational cost index (OCI) are mostly sensitive to the total influent pollution load and the influent flowrate (Figure 7).

  - Conclusions

A general tool to assess the sensitivity of control strategies evaluated through BSM1 has been set up. The growth yield of heterotrophs and the growth and decay rate of autotrophs are the key influencing ASM1 parameters, whereas wastewater flowrate and composition are the most influencing operational parameters in terms of effluent quality and operating costs. Further work is needed concerning a simple representation of the sensitivity with respect to fractionation.

| (a) | (b) |
| --- | --- |

Figure 6: Flow-average effluent quality for the BSM1 case (a) and relative variations for the two fractionations (b)

| (a) | (b) |
| --- | --- |

Figure 7: Sensitivity map for effluent quality (E.Q.) (a) and operational cost index (OCI) (b) with respect to design and operational parameters

References

J.B. Copp (ed.), 2002, The COST Simulation Benchmark – Description and Simulator Manual, ISBN 92-894-1658-0, Office for Official Publications of the European Communities, Luxembourg.

M. Henze, C.P.L. Grady Jr, W. Gujer, G.v.R. Marais, T. Matsuo, 1987, Activated Sludge Model No. 1, IAWQ Scientific and Technical Reports No. 1, London, UK.

U. Jeppsson, M.N. Pons, I. Nopens, J. Alex, J. Copp, K.V. Gernaey, C. Rosen, J.P. Steyer, P.A. Vanrolleghem, 2008, Benchmark Simulation Model No.2 – General protocol and exploratory case studies, Wat. Sci. Technol., 56, 8, 67-78.

M.C. Lourenço, S. Pontvianne, M.N. Pons, 2008, Fractionnement de la matière organique pour la caractérisation des eaux usées urbaines, TSM, in press.

I. Takács, G.G. Patry, D. Nolasco, 1991, A dynamic model of the clarification thickening process, Wat. Res., 25, 10, 1263-1271.

P.A. Vanrolleghem, S. Gillot, 2002, Robustness and economic measures as control benchmark performance criteria. Wat. Sci. Technol., 45, 4-5, 117-126.