## Slide 1: Temperature control of a heated tank
case study for input transformations
August 2020

## Slide 2: Problem description. 1 Tanks
Variables definition
  x = y = T1
  u = q or Q
  d = [T0, Q or q]
V1
T1=50 C, q=0.01 m3/s
Q = 1672 kW
Nomenclature
T0 = temperature of inlet flow
T1 = temperature of tank 1
Td = temperature of flow qd
q = inlet flow
Q = heat rate
V1 = volume of tank 1
Control objective: control the temperature in tank 1 (T2)
by manipulating either the flow (q) or heat rate (Q)
T0 = 10 C
q = 0.01 m3/s
Case studies:
static transformation (v0)
linear transformation (vL)
linear transformation with steady-state gain of 1 (vL0)
integrating transformation (vI)
original nonlinear system
See transformation theory doc
for model and equations for
input transformation

## Slide 3: Closed loop simulations
u=q (inflow)
u=Q (heat rate)
1. Ts: 50->40 at t = 100 s
2. T0: 10->25 at t = 1000 s
3. Q or q (d): -> 50 % at t = 2000 s
4. Ts: 40->50 at t = 3000 s
v<T0 = > singularity
exact implementation

## Slide 4: Closed loop simulations
u=q (inflow)
u=Q (heat rate)
1. Ts: 50->40 at t = 100 s
2. T0: 10->25 at t = 1000 s
3. Q or q (d): -> 50 % at t = 2000 s
4. Ts: 40->50 at t = 3000 s
lower boundary constraint for v0 = T0
exact implementation

## Slide 5: Closed loop simulations
u=q (inflow)
u=Q (heat rate)
1. Ts: 50->40 at t = 100 s
2. T0: 10->25 at t = 1000 s
3. Q or q (d): -> 50 % at t = 2000 s
4. Ts: 40->50 at t = 3000 s
speed up response for vL0 twice
lower boundary constraint for v0 = T0
exact implementation